EXECUTIVE OFFICE OF ENERGY AND ENVIRONMENTAL AFFAIRS

DEPARTMENT OF ENERGY RESOURCES

Leading by Example Program

FY12 Energy Tracking and Reporting Form

Fiscal Year 2012 (July 1, 2011 through June 30, 2012)

OVERVIEW:

Measuring and tracking energy data for Massachusetts state agency and public higher education operations is a critical component of the state’s Leading by Example Program (LBE) and a requirement of Governor Patrick’s Executive Order No. 484: Leading by Example—Clean Energy and Efficient Buildings.  To track progress in meeting the Fiscal Year 2012 greenhouse gas and energy reduction targets as well as the renewable energy goals established by EO484, collecting and analyzing agency and campus energy data is imperative.

Please use page two of this form to submit your agency/campus FY12 energy data to LBE.

###### REQUIRED ENERGY CONSUMPTION DATA FROM STATE AGENCIES AND HIGHER EDUCATION CAMPUSES

| DATA TYPE | Executive Agencies | Authorities | Colleges and Universities |
| --- | --- | --- | --- |
| Energy Consumption | Building Fuels (Fuel oil #2,#4, #6) | Collected from State Contracts (OSD) | Report to LBE | Report to LBE (Including all dorm usage) |
|  | Vehicle Fuels (gasoline, diesel, CNG, propane, etc.) | Collected from State Contracts | Report to LBE | Report to LBE |
|  | Electricity (including renewables) | Report to LBE | Report to LBE | Report to LBE (including all dorm usage) |
|  | Natural Gas | Report to LBE | Report to LBE | Report to LBE (including all dorm usage) |

As summarized in the table above, LBE is only able to compile vehicle and building fuel data for executive agencies from the statewide contract reports provided by the Operational Services Division (OSD).  We will contact you to confirm or explain any discrepancies in OSD data with your agency records.

For many of you participating in the EEMS system, we encourage you to check your EEMS data against your own usage data for FY12 to ensure accuracy of the meter data, which will allow streamlined reporting for FY 13. For others, we are getting close to a central tracking system for electricity and natural gas and will work with you to check the data we have against your own data, where available.

Please note, in addition to fuel and grid electricity data, we are asking for consumption of on-site renewable energy and the amount of Renewable Energy Certificates purchased and/or sold by a reporting entity. Agencies/campuses should also report any other type of energy/fuel consumed not listed here.

Leading by Example Program FY12 Energy Tracking and Reporting Form

### GENERAL INSTRUCTIONS

Reporting should include all owned facilities within your agency/campus and be consistent from year to year.

FY12 Data: Collect energy consumption data and enter it the chart below. Also please provide requested building information, including total square feet of buildings for your campus/agency and the amount of new square footage constructed and made operational in FY2012. Please provide date of occupancy for any new buildings.

This form should be filled out and submitted by email to Maggie McCarey, Building Efficiency Project Coordinator, Leading by Example Program, Maggie.mccarey@state.ma.us by October 28, 2012. Please contact Maggie via email or by phone at 617-626-7362 if you need assistance in gathering your energy data.

CONTACT INFORMATION

Agency/Campus: _________Fitchburg State University____________________________________________________________

Contact Name and Title: ______Mary Beth McKenzie, Executive Director of Administrative Services______________________

Phone: 978-665-4888	 Email: __memckenzie@fitchburgstate.edu__________________________

###### * Please remember to indicate units of measurement used in “Notes” if different from units listed.

| CATEGORY | FY12 CONSUMPTION | UNIT* | TOTAL COST | NOTES |
| --- | --- | --- | --- | --- |
| Building Energy Use |
| Electricity delivered from Grid (include supply plus transmission and distribution) | 11,004,452 | kWh | $2,075,807 |  |
| Onsite Electricity from CHP/ Co-Generation |  | kWh | $ | List fuel source |
| Onsite thermal output from CHP/Co-Gen |  | Btu | $ |  |
| Onsite Electricity from Wind |  | kWh | $ |  |
| Onsite Electricity from Solar PV | 97,882 | kWh | $ |  |
| Onsite Renewables from Other |  | kWh | $ |  |
| On-site power generation (other) |  |  |  | List fuel source here |
| Renewable Energy Certificates Purchased |  | kWh | $ |  |
| Renewable Energy Certificates Sold |  | kWh | $ | DCAM Sold RECS related to the Solar PV installation at Sanders/Anthony |
| Natural Gas | 882,673 | therms | $1,199,488 |  |
| Diesel/#2 oil for Emergency Generators | 439 | gallons | $1,640 |  |
| Fuel Oil #2 for buildings | 252 | gallons | $33,119 |  |
| Bioheat #2 Heating oil |  | gallons | $ | List percentage, e.g. B5 or B20 here |
| Fuel Oil #4 |  | gallons | $ |  |
| Fuel Oil #6 | 47,130 | gallons | $169,316 |  |
| Propane (cooking and/or heating) |  | gallons | $ |  |
| Purchased Steam |  |  | $ | List measure being used here |
| Other (please list) |  |  | $ |  |
| Vehicle Fuel Use |
| Gasoline | 19,987 | gallons | $61,911 |  |
| Diesel | 153 | gallons | $524 |  |
| Biodiesel blend |  | gallons | $ | List percentage, e.g. B5 or B20 here |
| Ethanol (E85) | 166 | gallons | $563 |  |
| Compressed Natural gas (CNG) |  | gallons | $ |  |
| Propane |  | gallons | $ |  |
| Electric | 9125 | kWh | $1,721 |  |

| Building Square Feet Information |
| --- |
| Current SF Reported | Corrected SF for Buildings in use as of FY2012 |
| See chart below for currently reported square footage. If there is a N/A next to your agency name, you do not need to provide SF information | Insert agency/campus wide correct square footage number in the cell below for all owned buildings for which you pay for energy use. If the square footage information is correct, just right correct or no change in the cell below. |
|  | 1,376,787 sqf |
| Utility Account Information |
| Please note that LBE is working diligently to collect all active electricity and natural gas accounts so that we can automatically collect energy usage data without requiring facilities to provide it. We will be contacting campuses/agencies within 1-2 weeks to provide you with our current listing of account information as well as historic usage (back to FY2002) for each account or by annual totals, where account information is not available. Please be prepared to review this information to recommend any changes that should be made, including deletion/cancellation of accounts, addition of new accounts, changes to building and/or site name or address. If you have a full listing of your utility accounts and can send that instead, that is acceptable. Please let Maggie McCarey know if you already have exact account information available. If you have already provided this information to us, you do not need to do so again. |

Current FY11 Agency/Campus Square Footage Information Currently estimated by LBE

| Agency/Campus Name | Total known sq. ft. for agency/campus in FY2011 | Agency/Campus Name | Total known sq. ft. for agency/campus in FY2011 |
| --- | --- | --- | --- |
| Berkshire Comm. College | 228,000 | Mass. Maritime Academy | 828,723 |
| Bridgewater State University | 1,750,000 | Massasoit Comm. College | 553,454 |
| Bristol Comm. College | 356,641 | MassDEP | 207,758 |
| Bunker Hill Comm. College | 487,260 | MassDOT - Highway Division | N/A |
| Bureau of State Office Buildings | 2,731,000 | MassDOT - Turnpike Division | N/A |
| Cape Cod Comm. College | 330,254 | Middlesex Comm. College | 462,916 |
| Chelsea Soldier's Home | 541,018 | Military Division | 1,659,083 |
| Dept. of Conservation and Recreation | N/A | Mount Wachusett CC | 491,789 |
| Dept. of Correction | 5,860,603 | North Shore Comm. College | 473,495 |
| Dept. of Developmental Services | 3,341,683 | Northern Essex Comm. College | 467,544 |
| Dept. of Fire Services | 100,036 | Quinsigamond Comm. College | 332,729 |
| Dept. of Mental Health | 2,189,379 | Roxbury Comm. College | 431,626 |
| Dept. of Public Health | 2,158,826 | Salem State University | 1,415,617 |
| Dept. of State Police | 769,185 | Springfield Technical CC | 1,072,615 |
| Dept. of Youth Services | 512,079 | Trial Court | 4,495,549 |
| Div. of Capital Asset Management | 3,386,000 | UMass Amherst | 10,883,284 |
| Fitchburg State University | 1,476,332 | UMass Boston | 2,753,476 |
| Framingham State University | 1,088,858 | UMass Dartmouth | 2,349,367 |
| Greenfield Community College | 255,200 | UMass Lowell | 3,400,000 |
| Holyoke Comm. College | 572,000 | UMass Medical | 2,830,108 |
| Holyoke Soldier's Home | 320,000 | Westfield State University | 683,929 |
| Mass. Bay Comm. College | 356,691 | Worcester State University | 1,136,000 |
| Mass. College of Art & Design | 855,450 |  |  |
| Mass. College of Liberal Arts | 668,731 |  |  |
| Leading by Example/Sustainability Information Please fill out the following information with as much detail as you can |
| In the spaces below, please describe up to three of the most important sustainability actions/activities you have undertaken over the past 3-5 years that have resulted in measureable successes. |
| Sustainability Action #1 Completed first solar pv installation on campus, rooftops of Sanders Administration and Anthony Student Service Buildings. These not only help the University reduce use of grid-generated and purchased electric, but also are a visual symbol of the University efforts to improving sustainability. |
| Sustainability Action #2 Implemented the first geo-thermal heating and cooling system utilized on campus for one of the buildings purchased and converted for academic office and support space. |
| Sustainability Action #3 Implementation of single-stream recycling on a campus-wide basis. Another very visible symbol of commitment and opportunity for all campus users to participate in sustainability efforts. Helps reduce the amount of solid waste otherwise sent to landfills. |
| Please describe any awards or recognition received over the past several years for efforts related to clean energy, solid waste, water conservation, or any other environmental and sustainability measures. |
| Please describe any efforts undertaken to educate, train and/or communicate about sustainability to staff, students, visitors, local communities or any other constituencies. Established a sustainability advisory committee (made up of students, staff and faculty), created a sustainability web site, worked with local and on-campus publications to share information about campus sustainability efforts. |
| Please describe any significant efforts you are planning to undertake over the next 1-5 years related to clean energy, solid waste, water conservation, or any other environmental and sustainability measures. Key identified activities for improving campus sustainability include adding additional solar pv installations, investigating combined heat and power system for the Recreation Center, conversion of the remaining #6 fuel oil boilers at the power plant to natural gas. |
| Please provide any other sustainability related information you would like the Leading By Example Program to know to be included in our progress report being developed this fall and winter. |